## Slide 1: Applying MBSE to Develop a Microgrid Reference Model
Joint INCOSE Working Group Project
Power & Energy/CIPR/OOSEM
January 22, 2018

## Slide 2: Presentation Objectives
Illustrate how a model-based systems engineering (MBSE) approach can be used to develop a reference model to guide the development of a Microgrid

## Slide 3: INCOSE Working Group Collaboration
Participating Working Groups
  Power & Energy – (Leads: Ray Beach, Charles Alexander, and John Juhasz)
  Critical Infrastructure Protection & Recovery – (Leads: Delamare, Juhasz , Walker)
  Object-oriented Systems Engineering Method – (Leads: Lykins, Pafford, Walker)
Increment 1 Objectives
  Demonstrate how a model-based systems engineering approach has the potential to improve the development of complex critical infrastructure systems, such as microgrids
Project start: July 22, 2017
Presented at Energy Tech: November 1, 2017

## Slide 4: Team Members
Michael Delamare
Sanford Friedenthal
Myron Hecht
John Juhasz (Project Lead)
Howard Lykins
Casey Shull
Debbi Siering
Mark Walker

## Slide 5: Topics
Reference Model Overview
MBSE and SysML Overview
Microgrid Reference Model Walkthrough
Summary and Next Steps

## Slide 6: Reference Model Overview

## Slide 7: What is a Reference Model?
A model that represents the architecture of a class of systems, which can be further configured and elaborated to represent a specific system
This model is captured using the Systems Modeling Language (SysML®)

## Slide 8: Applying a Reference Model to a System Design
Apply MBSE method
(e.g., OOSEM, ..)

## Slide 9: Simplified MBSE Method
Source: Architecting Spacecraft with SysML
Friedenthal, Oster
Derived from OOSEM Method
Refer to Chapter 17 of ‘A Practical Guide to SysML’

## Slide 10: MBSE and SysML Overview

## Slide 11: Current Practice to Future Practice
Today: System specification and design data related through documents
Future: Shared system model with multiple views, and connected to discipline models
Source: Jet Propulsion Laboratory

## Slide 12: Value of a System Model
Helps Manages Complexity & Risk
  Captures rich information
  Multiple levels of abstraction
  Presents multiple views
  Support patterns and reuse
Helps Enforce Rigor
  Model checking
  Audits and reports
Provides a consistent definition of the system that can be used to integrate other discipline models

## Slide 13: Describing Architectures Using the 4 Pillars of SysML
Source: A Practical Guide to SysML Figure 18.1

## Slide 14: Typical SysML Modeling Tool Interface
Cameo Systems Modeler
Figure 3.13
Model
Browser
Pallet
Diagram Area
Toolbar

## Slide 15: Microgrid Reference Model Walk-through
The following artifacts are preliminary results from approximately 8 Working Group telecons over 2+ months.

## Slide 16: Definitions
A Microgrid is a system of distributed energy resources that connects to loads within clearly defined electrical boundaries that acts as a single controllable entity with respect to an external power source. A Microgrid can connect and disconnect from the grid to enable it to operate in both grid-connected or island-mode. {Source: US DOE]
A Nanogrid is a system of distributed energy resources that connects to loads within clearly defined electrical boundaries that acts as a single controllable entity with respect to an external power source. A Nanogrid can connect and disconnect from the grid to enable it to operate in both grid-connected or island-mode, but serves a single power user / decision maker. A Nanogrid cannot be further decomposed into lower level Nanogrids. (Source: Working Group)

## Slide 17: Microgrids Connected to Main Grid
Source: Sandia Labs

## Slide 18: Model Artifacts
Use Cases
Template Requirements
Node Concept
Electric Grid Context
Microgrid to Main Grid Connection
Microgrid Internal Block Diagram – Logical
Support Electrical Power Demand Activity Diagram
Microgrid Operational States
Analysis Model
Model Organization

## Slide 19: Microgrid Use Cases

## Slide 20: Template Requirements

## Slide 21: Template Requirements Table

## Slide 22: Node Concept

## Slide 23: Electric Grid Context

## Slide 24: Microgrid Node to Main Grid Connection

## Slide 25: Microgrid Internal Block Diagram - Logical

## Slide 26: Support Electrical Power Demand Activity Diagram

## Slide 27: Microgrid Operational States

## Slide 28: Resiliency Analysis
This is a proxy for the
MATLAB analysis model
Source:
Myron Hecht Resiliency Model

## Slide 29: Linking the System Model to Engineering Analysis
System Model (SysML)
Requirements, Structure,
Behavior, Parametrics
ModelCenter
Multidisciplinary Distributed Analysis, Optimization, Design Space Exploration
Los Angeles
Orlando
Detroit
System Requirements
Analysis Specification
Analysis Results
Requirements Conformance
© 2012 Phoenix Integration, Inc. All Rights Reserved

## Slide 30: Model Organization

## Slide 31: Summary & Next Steps

## Slide 32: Potential Next Steps
Elaborate Reference Model
  Threats, use cases, functions, states, interfaces, key technical properties
  Populate component library
Integrate with other Models and Data Sources
  Configuration Management
  Analysis Models (Resiliency, Power Analysis, Economic Analysis)
  Recovery model
  Requirements Management
Support a Student Microgrid Design Project using Reference Model as Starting Point
Develop Approach to Maintain Model (e.g., CM Envir, Change process)
Apply to Specific System Design
Expand scope to include broader infrastructure

## Slide 33: Summary
Reference Model with MBSE approach can facilitate a more systematic and rigorous process to develop critical infrastructure such as a Microgrid, that addresses stakeholder needs, facilitates design tradeoffs, reduces risk, and leverages reuse of system designs
Preliminary Reference Model effort added clarity to the concepts, and helped manage the complexity of the inter-connected grid architecture
Current effort is to integrate reference model with other design and analysis models and tools, and with a configuration management and collaboration environment
Future effort should focus on applying reference model to a particular application

## Slide 34: Questions ??