## Program Grid
2024-04-23
| Room 1 | Room 2 | Room 3 | Room 4 | Ballroom4
7:00 | Breakfast
8:00 | 2 | 28 | 18 | 23 | Vendor Day
Track | Tutorial | Tutorial | Tutorial | Tutorial | -
| Risk-Based Approach, Risk Management, & Risk Assessment: Misconceptions, Expectations, & Effective Application - Steve Gompertz | Quantum Computing Basics for System Engineers - Matthew Versaggi | Applying Model Based Systems Engineering (MBSE) for Medical Devices - Ron Kratzke, Sean Densford and Pedro Correa | Back to Basics: Thinking Like a Systems Engineering Practitioner - David Walden | -
12:00-13:00 | Lunch
13:00 | 11 | 12 | <cont> | <cont> | Vendor Day
Track | Tutorial | Tutorial | - | - | -
| Systems Thinking for AI in Healthcare - Dan McCreary | Agile Development for Systems Engineers - Kelly Weyrauch | - | - | -
17:00 | Day Adjourns
2024-04-24
| Room 1 | Room 2 | Room 3 | Room 4 | Ballroom4
7:00 | Breakfast
8:00 | Introductions
8:30-10 | Keynote: Michelle Jump, MedSec
The Double-Edged Sword of Technology in Healthcare
10-10:30 | Break
10:30 | 39 | 8 | 15 | 1 | Vendor Day
Track | Cybersecurity | Digital Systems Engineering | Artificial Intelligence & Machine Learning | Safety / Risk Management | -
| Practical Medical Device Threat Modeling - Bo Lanham | Using MBSE to Develop a Systems Architecture for a Generic Patient Controlled Analgesia Infusion Pump (GPCA) - Sean Densford and Pedro Correa | System Engineers' Copilot: AI-driven Intelligent System Design (ISD) - Xiaofan Mai and Taras Rafa | Medical Product Safety Engineering: Connecting the Dots for Safe and Effective Medical Products - Fubin Wu | -
11:00 | <cont> | <cont> | <cont> | <cont> | Vendor Day
Track | - | - | - | - | -
| - | - | - | - | -
11:30 | 30 | 6 | 50 | 17 | Vendor Day
Track | Cybersecurity | Digital Systems Engineering | Artificial Intelligence & Machine Learning | Safety / Risk Management | -
| Seven Years of Medical Device Cybersecurity Disclosures: Lessons Learned and What's Ahead - Matthew Vorhees | Evolution of a Medical Device Architecture into a System of Systems - Pat Deeney and Michael Casper | Integrating ChatGPT output into MBSE tools - Steve Zielinski | Enhancing Medical Device Safety through MBSE-Verified FMEA - Akhilesh Mishra | -
12:00-1:00 | Lunch
13:00 | 47 | 16 | 13 | 19 | Vendor Day
Track | Cybersecurity | Requirements and Test Management | Artificial Intelligence & Machine Learning | Safety / Risk Management | -
| Designing in Cybersecurity: FDA’s Cybersecurity Architecture Views - Matthew Hazelett | Systems Engineering Traceability Continued - Vincent Balgos | Empowering Systems Engineering with Large Language Models: From Ideation to Implementation - Justin Grammens | Failure Mode and Effects Analysis (FMEA) in an MBSE Toolset - Ron Kratzke | -
13:30 | <cont> | 38 | <cont> | <cont> | Vendor Day
Track | - | Requirements and Test Management | - | - | -
| - | Crossing Bridges: Toward Robust Verification Protocols using MBSE Models - Steven Deyo | - | - | -
14:00 | Mini-Break
14:15 | Sponsor Presentation: Cognition
14:35 | Sponsor Presentation: Dassault
14:55 | Sponsor Presentation: JAMA Software
15:15 | Break/Networking
15:45 | 4 | 10 | 43 | 29 | Vendor Day
Track | General | Digital Systems Engineering | Artificial Intelligence & Machine Learning | Safety / Risk Management | -
| Shu Ha Ri for SE (For the Journey to Expertise in SE, Enhance the Path with Shu Ha Ri) - Fred Robinson | Pragmatic Software Tool Validation - using AAMI/ISO TIR80002-2 - Kelly Weyrauch | How to prepare your software for the new AI/ML PCCP guidance - Erez Kaminski | A Quantitative Framework for Assessing Benefit-Risk in Healthcare Applications - Richard Matt | -
16:15 | 41 | 21 | 45 | <cont> | <EITHER>
Track | Cybersecurity | Digital Systems Engineering | Artificial Intelligence & Machine Learning | - | -
| Panel: Securing the Future of Medicine: Best Practices for Managing Security Risk Medical Device Cybersecurity - Michelle Jump | Panel: Challenges in Introducing new systems engineering tools - Chris Unger, Michael Galloway, Ronald Kratzke and Mike Casper | Breaking New Ground: AI Solutions for Kidney Stone Detection and Ensuring Global Algorithm Safety - Rijul Mahajan, Mahajan and Mahajan | - | -
16:45 | <cont> | <cont> | <cont> | <cont> | 0
Track | - | - | - | - | #N/A
| - | - | - | - | #N/A
17:15 | Day Adjourns
17:30-19:00 | JAMA Reception / Happy Hour
19:00 | Banquet
2024-04-25
| Room 1 | Room 2 | Room 3 | Room 4 | Ballroom4
7:00 | Breakfast
8:00 | 14 | 7 | 27 | 31 | 0
Track | Cybersecurity | Digital Systems Engineering | Artificial Intelligence & Machine Learning | Beyond the System | #N/A
| Guardians of Integrity: The Power of Secure Design Principles in Crafting Safe Solutions - Joshua Berry and Michelle Jump | Model-based System Engineering for Battery State-of-Health Algorithms - Gang Ji | Cognitive Technology in the Healthcare Space - Matthew Versaggi | Product Line Engineering using Requirement Management Tool - Sri Harsha Maramraju | #N/A
8:30 | <cont> | 35 | <cont> | <cont> | 0
Track | - | Digital Systems Engineering | - | - | #N/A
| - | Waste Not, Want Not: Harnessing the Power of (Deep) Reuse for a Sustainable Engineering Future - Joseph Green and Joshua Zehoski | - | - | #N/A
9:00-9:30 | Break
9:30 | 25 | 36 | 51 | 3 | 0
Track | General | Digital Systems Engineering | Artificial Intelligence & Machine Learning | Beyond the System | #N/A
| Cultural Considerations for Systems Engineering in Healthcare Organizations - David Walden | Weaving the Future: Digital Segments, Threads, and Fabrics - Joseph Green and Joshua Zehoski | Fundamentals of LLMs - Steve Zielinski | Software Defined Medical Systems - Ozgur Butun | #N/A
10:00 | 5 | 37 | <cont> | 46 | 0
Track | Cybersecurity | Digital Systems Engineering | - | Beyond the System | #N/A
| Building a Business-Driven Product Security Program - Dan Lyon | Empowering Tomorrow's Innovators: Bridging the Gap through Early Career Engagement in Digital Engineering. - Mamadou Bah | - | Model-Based Design Approach for Hierarchical Systems – Medical Device Show Case - Rouzbeh Touri and Akhilesh Mishra | #N/A
10:30 | 40 | 32 | 33 | 42 | 0
Track | Cybersecurity | Digital Systems Engineering | Artificial Intelligence & Machine Learning | Beyond the System | #N/A
| Panel: Building a Medical Device Cybersecurity Engineer - Bo Lanham | Tutorial on MBSE for developing an effective humidification system for mechanical ventilators - Akhilesh Mishra and Pourash Patel | GenAI vs. Tech Debt – Enhance Experiences by Reducing Fragility - James Wilt | Lifecycle and Configuration Management of a System of Systems - John Vantuno | #N/A
11:00 | <cont> | <cont> | <cont> | <cont> | 0
Track | - | - | - | - | #N/A
| - | - | - | - | #N/A
11:30-12:30 | Lunch
12:30-14:00 | Unconference
14:00 | Conference Retrospectives
14:15 | Conference Adjourns

## Session Descriptions
# | Presenters | Title | Topic / Track | Abstract | Day/Track/Time Sort
2 | Steve Gompertz | Risk-Based Approach, Risk Management, & Risk Assessment: Misconceptions, Expectations, & Effective Application | Tutorial | For years, regulations and standards have been increasing their focus on application of a Risk-Based Approach (RBA) to quality management. Unfortunately, many people have confused that concept with the more formal Risk Management (RM) process. The two are related, but different concepts. In this 1/2 day tutorial, participants will learn how RM is a subset of RBA, where RBA focuses on QMS process risks and RM focuses on product risks. RBA is more about creating awareness of process risks, i.e. - applying risk-based thinking. RM is the formal process of identifying, assessing, controlling, and monitoring product risk. Within RM, requirements for assessing risks are also frequently misunderstood due to attempts to simplify the process through a single tool to try to consolidate it into a simply calculation. Unfortunately, it doesn't work that way. The common approach of estimating severity and probability of harm don't actually provide the required indications of whether risks are acceptable and whether the product manufacturer has made adequate attempts to eliminate, lower, or maintain risk levels. This tutorial will explain those misconceptions, clarify what's really intended, and offer suggestions for how to achieve them. This will include discussions about benefit/risk analysis and aggregating individuals risks to determine the overall product risk. | 1.1
11 | Dan McCreary | Systems Thinking for AI in Healthcare | Tutorial | This 1/2 day hands-on workshop covers how we apply systems thinking to the application of AI in healthcare. We begin with an overview of the key concepts in systems thinking, and then we cover some of the key archetypes used in information technology and AI, such as the tragedy of the commons and the AI Flywheel. We give examples of causal feedback loops, and we study the rise of HuggingFace and how they leveraged feedback to build repositories of AI models. We then conclude with a case study of large shared knowledge graphs in healthcare. The second portion of the workshop allows participants to create their own causal loop diagrams for the problems they are confronting. Participants will work in groups to create, evaluate, and improve their causal loop diagrams drawing from the architypes we cover in the first part of the workshop. At the end of the workshop, groups are encouraged to do a short presentation about their analysis for the rest of the class. | 1.2
28 | Matthew Versaggi | Quantum Computing Basics for System Engineers | Tutorial | This tutorial session's intent is to provide system-engineers with a solid foundation of quantum computing basics that will provide them both strategic and tactical understandings. The discussion begins with a high-level overview of quantum computing, a review of the state-ot-the-art (SOTA), technology maturity assessment, and its strategic implications . The discussion turns next to the technical aspects of quantum computing with 15+ live experiments that illustrate key technical aspects of the quantum computing space specifically designed for the systems/software engineer. Please join us in this fascinating journey into the strategic and tactical areas of a cutting-edge technology space crafted uniquely for the understanding of the non-quantum physicist. | 1.3
12 | Kelly Weyrauch | Agile Development for Systems Engineers | Tutorial | Agile development methods, initially created for and used by software development organizations, are now applied to the development of complex systems. This tutorial, intended for those who have little or no experience with Agile methods, or those who have some experience with Agile methods for software development but are wanting to learn how the concepts and mechanisms apply to Systems Engineering and the development of complex systems that include more than software. The tutorial begins with an introduction to Agile principles and basic mechanisms of Scrum and the Scaled Agile Framework (SAFe), then addresses the role of a Systems Engineering on Agile teams, and how Systems Engineering activities are addressed in Agile's highly incremental/evolutionary model. | 1.4
18 | Ron Kratzke, Sean Densford and Pedro Correa | Applying Model Based Systems Engineering (MBSE) for Medical Devices | Tutorial | This tutorial will explore the design of an infusion pump using system engineering principles and the CATIA Magic Cyber Systems Engineer modeling toolset. Attendees will get hands-on experience in capturing and importing data, creating system design artifacts in the Systems Engineering Modeling Language (SysML) and presenting the design of the system in the modeling environment. This tutorial is a "hands-on" tutorial where the attendees will be able to follow along with the instructor to build a model of a Generic Patient Controller Analgesic (GPCA) device. The model will start with a set of user needs and build off of this information to build a conceptual and then a logical model of the system design. The students will build Requirement, Structural, Behavior, Interface diagrams as part of building the system design model. | 1.5
23 | David Walden | Back to Basics: Thinking Like a Systems Engineering Practitioner | Tutorial | So, you are new systems engineering practitioner? Congratulations! Perhaps you were previously a lead software or hardware engineer in your organization. Perhaps you are starting your career with a graduate degree in systems engineering. Perhaps you don’t even have an engineering background. Now what? The objective of this tutorial is to provide top-level guidance to new systems engineering practitioners on how to shift their mindset into one that will enable them success in their new position. The tutorial follows the terminology and conventions of the INCOSE Systems Engineering Handbook (SEH), ISO/IEC/IEEE 15288, the INCOSE Systems Engineering Competency Framework (ISECF), and the Guide to the Systems Engineering Body of Knowledge (SEBoK). As part of this tutorial, each participant will be encouraged to develop an initial Personal Action Plan to guide their future development plans. | 1.6
39 | Bo Lanham | Practical Medical Device Threat Modeling | Cybersecurity | Threat modeling is undoubtedly one of the most valuable activities a medical device manufacturer can perform to ensure a secure design for a medical device. It has also become one of the best ways to help illustrate to regulators how a device functions and where its design weaknesses lie. There are many resources available to understand the theory behind threat modeling and explain the basic concepts, however there are very few resources that help guide through the complexities that come with threat modeling a medical device. Rarely do engineers have trouble understanding the basics of threat modeling such as applying the STRIDE acronym to an example system, but once it is time to begin threat modeling the real device on a blank sheet of paper, the task can feel daunting. This presentation, will provide practical solutions to threat modeling medical devices to get the most value out of the activity and avoid wasted time and effort, all based on the speaker’s direct experience with various methods and approaches This presentation is not meant to describe threat modeling theory, but instead, provide examples that attendees can take with them to apply immediately in their roles to improve their threat modeling efforts. | 2.11
30 | Matthew Vorhees | Seven Years of Medical Device Cybersecurity Disclosures: Lessons Learned and What's Ahead | Cybersecurity | Transparency on cybersecurity from a medical device manufacturer is one foundational aspect of building trust with customers, the healthcare community, and regulatory authorities. Medical Device Manufacturers have generally matured in our ability and willingness to share more information regarding the cybersecurity posture of our devices with the public. However, the world looked different seven years ago. This presentation will review the journey of one Medical Device Manufacturer from their mistakes of the past to their current programs and partnerships as well as include a discussion on what the future state may look like. Every Medical Device Manufacturer should be leaning into a baseline level of approachability and transparency regarding the cybersecurity of their devices and software as it is becoming table stakes for customers and regulatory agencies and, more importantly, it improves the trust in and resiliency of our industry. | 2.12
47 | Matthew Hazelett | Designing in Cybersecurity: FDA’s Cybersecurity Architecture Views | Cybersecurity | Understanding the implementation of medical device cybersecurity during the review process is highly reliant on understanding the system context for where threats are introduced and where the device design mitigates the threats. Architecture Views are one of the recommended FDA submission deliverables to convey these aspects to contextualize how controls can be effective at addressing threats and document defense-in-depth approaches. This session will discuss FDA’s recommendations for Architecture Views and how they can benefit the overall systems engineering approach for medical device design and maintenance. | 2.13
41 | Michelle Jump | Panel: Securing the Future of Medicine: Best Practices for Managing Security Risk Medical Device Cybersecurity | Cybersecurity | Medical devices are essential for diagnosing, treating, and monitoring various health conditions. However, as these devices become more connected and sophisticated, they also face increasing cybersecurity threats that could compromise their safety and effectiveness. In this panel, we will explore the current state of medical device cybersecurity, the challenges and risks involved, and the best practices for managing security risk throughout the device lifecycle. The panel will begin with an overview of security risks and then move to the panel to discuss real life experience of security professionals who manage security risks in a variety of product types and environments. | 2.14
8 | Sean Densford and Pedro Correa | Using MBSE to Develop a Systems Architecture for a Generic Patient Controlled Analgesia Infusion Pump (GPCA) | Digital Systems Engineering | As medical devices get more complex and expensive to design, the current practices need to be improved upon to meet industry demands. Model based approaches to system development are quickly overtaking traditional document-based approaches to achieve faster, competitively priced, and more complex systems. Model-Based Systems Engineering (MBSE) is a powerful approach to advance the current practices for systems design and development, which can be applied to the development of medical devices. Using the CATIA Magic Cyber Systems Engineer toolset, attendees will learn how MBSE can be applied to the architecture development of a Generic Patient Controlled Analgesic (GPCA), enabling the controlled infusion of liquid medicine into a patient's bloodstream by clinician or a request from the patient. This presentation will provide an overview of an implementation of stakeholder needs, a conceptual model, logical model, traceability from system elements to requirements, describing system operation using a state machine, and a simulation of the integrated system behaviors utilizing the mock-up of a user interface. Attendees will gain knowledge of how to apply the System Modeling Language and the methodology of MagicGrid™. This will also provide attendees with a comprehensive understanding of the benefits of utilizing MBSE with CATIA Magic in medical device development. | 2.21
6 | Pat Deeney and Michael Casper | Evolution of a Medical Device Architecture into a System of Systems | Digital Systems Engineering | Growth of a product development team in parallel with rapid product development and increasing complexity of a system introduces challenges when implementing systems engineering processes. We discuss systems engineering practices for medical device development within the Healthcare and Biomedical domain. This is a regulated industry and presents unique requirements for documentation, but the methods and challenges discussed will be relevant to any regulated industry. At Smith and Nephew, the robotics division was formed out of an acquisition of Blue Belt Technologies (BBT) in 2016. BBT developed the Navio Surgical System, a medical device that provides robotic assistance to surgeons performing various forms of knee arthroplasty. This technology has been further developed and refined into the current CORI Surgical System which has expanded to include additional clinical indications. Along with the complexity of the system, the team has grown from a small startup to a large organization of cross-functional engineers supporting and developing the platform. Modernization of the system architecture is critical to support the expansion of the platform. We will share practical experience in the modernization of a system architecture, discuss challenges in following best systems engineering practices in a regulated industry, and offer recommendations to organizations just beginning the development of their system architecture for how they can set up for future success. | 2.22
10 | Kelly Weyrauch | Pragmatic Software Tool Validation - using AAMI/ISO TIR80002-2 | Digital Systems Engineering | "In the historical approach to validation, the terms 'value added' and 'software validation' tended to be mutually exclusive." This provocative, but accurate opening statement from the predecessor to AAMI/ISO TIR80002-2:2017, "Validation of Software for Medical Device Quality Systems" reflected the perception many organizations have about software tool validation. Does this statement resonate for you? Is the burden of tool validation one of the barriers you face in bringing modern systems engineering and product development tools into your organization? Come to this session to learn the pragmatic, risk-based approach that AAMI/ISO TIR80002-2:2017 describes. | 2.23
21 | Chris Unger, Michael Galloway, Ronald Kratzke and Mike Casper | Panel: Challenges in Introducing new systems engineering tools | Digital Systems Engineering | Adopting a new tool is often a major cultural change. There are often changes required to processes and roles. Sometimes a new tool forces (or is a good excuse to enforce) process standardization. Rarely is the major benefit of a new tool simply the productivity inherent in the tool itself; the tool enables new ways of working. But there are institutional and cultural barriers to any such change: existing experts may feel threatened by loss of their special knowledge, people and functions may not want to change to a common process, programs on a critical time scale may not want to take on the risk and learning curve inherent in a new tool. These challenges are all in addition to the purely execution challenges of on-boarding a new tool, migrating data, defining and training on new processes. Our panel will discuss challenges they have seen in new tool adoption and techniques to achieve success. | 2.24
15 | Xiaofan Mai and Taras Rafa | System Engineers' Copilot: AI-driven Intelligent System Design (ISD) | Artificial Intelligence & Machine Learning Requirements and Test Management | The development of medical devices system is highly complex and dynamic, requiring systems engineers to understand and apply a vast amount of domain knowledge from multiple engineering disciplines to meet design requirements. However, it is challenging for individual human engineers to fully and deeply process and apply all this domain knowledge. It’s time-consuming, error-prone and requires proper training, which leads to high development costs and projects delays. In this presentation, we will share an AI-driven Intelligent System Design (ISD) to demonstrate how it addresses the above challenges by automating the manual process of analyzing the requirements as well as generating the comprehensive design testing scenarios considering interoperability of various design entities. To be specific, the ISD solution will be applied to the following areas: 1) Design requirements: industry standards, FDA guidance, product requirements, 2) lower-level requirements across software, hardware, mechanical, and electrical. 3) design entities including but not limited to hardware, human behaviors, environmental elements, and cybersecurity. We will share case studies that demonstrate ISD's capabilities and benefits. ISD empowers engineers to transform product development to the next level, saving business much development cost by preventing failures early on and expediting the development cycle with quality excellence. | 2.31
50 | Steve Zielinski | Integrating ChatGPT output into MBSE tools | Artificial Intelligence & Machine Learning | The real power of ChatGPT output comes when the text can be turned into models. We'll look at formatting ChatGPT output for MBSE import. | 2.32
13 | Justin Grammens | Empowering Systems Engineering with Large Language Models: From Ideation to Implementation | Artificial Intelligence & Machine Learning Requirements and Test Management | In this presentation, we will explore the transformative potential of Large Language Models (LLMs) in streamlining the systems engineering process across various stages, from initial ideation to implementation. By integrating LLMs, engineering teams can significantly enhance efficiency, accuracy, and creativity in their projects. Join us to learn to harness the power of LLMs to tackle complex challenges, improve decision-making in software development, and lead teams to deliver high-quality engineering projects efficiently. | 2.33
43 | Erez Kaminski | How to prepare your software for the new AI/ML PCCP guidance | Artificial Intelligence & Machine Learning | In 2023, the FDA released new guidance to simplify how manufacturers could adopt AI/ML, which included recommendations for a Predetermined Change Control Plan (PCCP). Now, companies are expected to submit a PCCP as a part of their premarket submission to describe their AI/ML change control plan in order to remain compliant with the FDA. However, manufacturers are hampered by both the creation of the PCCP itself and the supporting infrastructure required to meet the opportunity of PCCP. This presentation will identify crucial steps for effectively designing, building, and verifying a PCCP. By exploring optimal PCCP architecture, this talk will provide an overview of the requirements, design controls, documentation, and testing necessary for a successful, compliant PCCP, as well as best practices for implementing a PCCP into your current product. Systems engineers will learn how to seamlessly integrate without disrupting their team’s daily workflows. This talk will provide concrete examples, including insight into how models are created, the types of training data used, and the requirements for testing and maintaining those models. We will close by outlining the critical infrastructure, including QMS changes and tools, that are required to fulfill the controls presented in the PCCP. We will also identify common mistakes teams make that lead to low reliability, slow release cycles, and poor efficiency. | 2.34
45 | Rijul Mahajan, Mahajan and Mahajan | Breaking New Ground: AI Solutions for Kidney Stone Detection and Ensuring Global Algorithm Safety | Artificial Intelligence & Machine Learning | I will delve into two exciting AI-based projects I worked on as an intern at Boston Scientific. The first project involved developing a groundbreaking kidney stone detection system from scratch. I will discuss the pressing need for such a system, the intricacies of its design, and the state-of-the-art image segmentation and classification technologies utilized. Additionally, I'll address the challenges encountered along the way and the innovative solutions devised to overcome them, highlighting my personal contributions to the project. As this system was developed as a prototype, I will also explore potential extensions for future development. In the second project, I focused on testing a machine learning algorithm for blood vessel ultrasound to ensure global compatibility. I'll emphasize the critical importance of ensuring AI safety across diverse geographical regions and use cases, underscoring the significance for patient safety and cost-effective research. I'll provide background information, outline the specific challenges faced, and detail the rigorous statistical tests I designed to ensure the algorithm's reliability for global deployment. Throughout both projects, I encountered intriguing twists and turns, and I'm eager to share how I navigated them to achieve successful outcomes." | 2.35
1 | Fubin Wu | Medical Product Safety Engineering: Connecting the Dots for Safe and Effective Medical Products | Safety & Risk Management | While regulatory compliance is a requirement for medical product manufacturers, the ultimate goal of compliance is to ensure the safety and effectiveness of the products. By applying safety engineering principles, manufacturers can focus on this ultimate goal and achieve effective compliance. This presentation will explore the key principles of medical product safety engineering, address the common challenges facing the industry, and provide insights on how to holistically overcome these challenges by integrating safety engineering throughout the entire product life cycle. | 2.41
17 | Akhilesh Mishra and Magnus Nord | Enhancing Medical Device Safety through MBSE-Verified FMEA | Safety & Risk Management | Background:The reliability of medical devices such as mechanical ventilator alarms is critical for patient safety, with standards such as IEC 60601-1-12 mandating high-priority alarms like the "high-pressure alarm." Traditional approaches to ensuring these alarms' functionality involve complex logical reasoning within Failure Mode & Effect Analysis (FMEA) and Hazard Analysis, which are prone to logical errors. Objective:This study introduces an innovative workflow utilizing a Model-Based Systems Engineering (MBSE) model to validate the effectiveness of the Method of Control (MOC) for each potential failure, ensuring high-priority alarms function correctly even under single-fault conditions. Methods:By integrating fault injection within the MBSE model, we simulate each failure scenario detailed in the fault tree. This process verifies the alarm's response across various ventilator settings, patient categories, and medical complications, providing evidence of the intended behavior. Results:The proposed MBSE-verified FMEA workflow significantly reduces the risk of logical errors compared to traditional manual methods. Implementing this workflow at early design stages makes it possible to ensure a safer design and mitigate costly safety-related design issues later in the product lifecycle. The demonstration highlights the workflow's efficacy with fault injection and simulation results, offering a promising direction for future safety engineering in medical device development. | 2.42
19 | Ron Kratzke | Failure Mode and Effects Analysis (FMEA) in an MBSE Toolset | Safety & Risk Management | Safety and Reliability assessment and analysis are an important part of engineering today’s complex systems. This is particularly important in the medical, aerospace, automotive, energy, and defense industries. Completing Failure Mode and Effects Analysis (FMEA) has generally been accomplished using unique tools by subject matter experts. Conducting FMEA in the same toolset as the system design is advantages to the design because they can show the logic behind the analysis and traceability to the individual elements and characteristics of the system design to correct or prevent failures of the system. This presentation explores the FMEA plugin applications available in the CATIA Magic system engineering toolset. The FMEA plugin is an extension of the system modeling language (SysML) and provides traceability and analysis in the same modeling environment as the system design. The presentation will explore the extension, show how one can develop a typical FMEA table, show traceability to Safety analysis from failure mode analysis, and show traceability to design characteristics to prevent or reduce the risk to an acceptable level. | 2.43
29 | Richard Matt | A Quantitative Framework for Assessing Benefit-Risk in Healthcare Applications | Safety & Risk Management | Evidence that the Benefit of a medical procedure exceeds its Risk is fundamental to all branches of medicine. From Hippocrates’ “First, do no harm” to the European Union’s Medical Device Regulations, the concept that a patient will be helped by a medical procedure more than they will be hurt is the gating medical criteria to a host of events, from releasing new products to the market, to responding to complaints, to judging whether a product should be recalled, to evaluating gaps and improvements to Quality Systems. This presentation discusses a novel method to determine whether benefit exceeds risk. Most fundamentally, this method separates itself from prior work by establishing a more objective, common metric for measuring both benefits and risks. Another novel element is working directly with the benefit and risk metrics and uses a ‘risk algebra’ to simplify these metrics until it becomes clear whether benefit exceeds risk, or vice versa. Building on this foundation, over a dozen applications have been developed; e.g., for systematically selecting the best therapy from among a list of alternatives, customizing the Benefit-Risk analysis to small populations or even individuals, and variations on the method’s metrics to make traditionally difficult cases (e.g., for a purely aesthetic purpose) significantly more objective. | 2.44
16 | Vincent Balgos | Systems Engineering Traceability | Requirements and Test Management | During complex medical product development, traceability information across different areas of the design can provide significant value. Whether ensuring all design inputs are covered with appropriate testing, risk controls traced back to known hazards, or identifying any orphan or untraced elements, traceability helps teams develop safe and effective products in an efficient, and comprehensive way. Measuring this traceability can drive the value even further. With a Live Traceability mechanism and metric, systems engineers can measure adherence to their own development and quality processes and identify gaps and risks earlier. This presentation is a continuation of 2023 discussion, and to provide some new insights. | 2.51
38 | Steven Deyo | Crossing Bridges: Toward Robust Verification Protocols using MBSE Models | Requirements and Test Management | Model-based systems engineering (MBSE) allows for capturing a rich set of behavioral interactions that represent intended system functions. As an MBSE model grows and matures, the complexity of the model also increases. While having information dynamically linked and contained within the model is invaluable, it also presents a challenge for the development of efficient and effective verification. One way of approaching verification test case creation in a model-centric world is through the application of mathematics and graph theory. By converting a complex behavior with numerous paths and decisions into a set of most efficient sequences, several advantages are realized. First is the ability to understand the minimum behavioral execution for test case coverage completeness. An additional benefit of such simplification is improved robustness of integration testing, where an analysis of what-ifs can be made in terms of sequence variations. One can quickly adapt the elicited sequences to better allow interactions not represented in the diagram view, helping reveal potential unwanted emergent behavior. Finally, by analyzing the minimum set of test complete paths and utilizing the model allocation of behavior to design elements, functional partners can be more effectively engaged to ensure testing is at the correct level. Join us as we explore new critical methods in the development of test cases from MBSE models. | 2.52
4 | Fred Robinson | Shu Ha Ri for SE (For the Journey to Expertise in SE, Enhance the Path with Shu Ha Ri) | General SE Foundations | This work offers considerations & enhancements to current programs systems engineering professional development, incorporating characteristics of expertise & mastery throughout. Shu Ha Ri represents an approach for 3 phases of mastery development, established in ancient practices like martial arts & mimicked in current approaches. Ericsson’s research on expertise depicts 3 levels of progression, naïve practice > purposeful practice > deliberate practice. Yet, Ericsson’s model is limited to domains where expertise can be characterized, is well understood, & is measurable or objectively evaluable by existing domain experts. For a given population of experts in SE, there is a shared set of highly diverse experiential assessment characteristics which diverge from some other assessment levels. Epstein suggests the power of generalists comes to play more when experts address wicked problems (those lacking a pre-ordained approach for solving) than when specialists address kind problems (the opposite). Solving wicked problems without exemplar solutions often requires the generalist’s leveraging of analogic thinking, and the recognition and possible synthesis of matchable patterns learned from diverse experience sampling of other domains, not merely relying on T-shaped or Pi-shaped knowledge. Using the Shu Ha Ri framing presents an opportunity to consider enhancements to earlier SE practitioner development stages towards excelling beyond emergence & effectiveness. | 2.61
14 | Joshua Berry and Michelle Jump | Guardians of Integrity: The Power of Secure Design Principles in Crafting Safe Solutions | Cybersecurity Requirements and Test Management | Guidance and design processes for information security are often separate from those related to safety. Regulatory bodies, such as the FDA, have made statements linking cybersecurity and patient safety. In this talk we will explore the topic of maintaining safety through secure design principles. We reference ISO/EIC 81001-5-1, FDA Guidance and comments, as well as other relevant sources to support this thesis. | 3.11
5 | Dan Lyon and Dan Lyon | Building a Business-Driven Product Security Program | Cybersecurity | How do you build a program that not only meets requirements but also communicates with your business stakeholders? What does it mean to have a product security program? This talk will cover how to create a program that not only reduces cybersecurity risk but also communicates value. Attendees will learn about product security program design and resources. | 3.12
40 | Bo Lanham | Panel: Building a Medical Device Cybersecurity Engineer | Cybersecurity | Medical Device Cybersecurity is still in its infancy, which means Medical Device Cybersecurity engineers are few and far between and the role is not yet clearly defined in many organizations. But the need far exceeds the available talent pool so how do we build more? A Medical Device Cybersecurity engineer must be knowledgeable in multiple domains to be truly effective. They must have technical knowledge in both software and hardware security to design a secure architecture. They must have security risk management knowledge to assess vulnerabilities that exist in the design. Finally, they must fully understand the regulatory environment and requirements to ensure compliance and create clear documentation to demonstrate the security posture of their device to regulatory bodies. While all of these are necessary to become an effective medical device cybersecurity engineer, there is a lack of training available to help onboard someone into this role. This presentation will begin with an outline of the moderator’s journey from IT security to medical device cybersecurity engineer. This journey involved a lot of learning on the job and off hours studying to upskill in different areas. After this, a panel discussion would follow with experts in medical device cybersecurity from various manufacturers and thought leaders. The topics of discussion would revolve around how they are tackling the challenge of building the next generation of medical device cybersecurity engineers. | 3.13
7 | Gang Ji | Model-based System Engineering for Battery State-of-Health Algorithms | Digital Systems Engineering | The high energy and power density of lithium rechargeable battery enables new medical device form factors while provides more therapies. The state-of-health (SOH) of battery is a critical indicator to ensure the lithium-ion battery stays within its safe operation limits by allowing user to take necessary maintenance action. However, the commercial-off-the-shelf battery management systems lack adequate SOH indicator for the use cases of medical devices, which may potentially lead to various safety issue in the field. To develop a custom SOH algorithm for the battery of next generation O-arm™ Solis imaging system, a model-based system engineering approach is adopted following IEC 62304 Medical Device Software – Software Life Cycle Processes. The requirements were defined based on the use cases to provide actionable output from the algorithm. In the concept and feasibility phases of development, the architecture, interface, and design of algorithm was implemented and verified as Simulink models. Finally, the C code was generated and compiled with the toolchain specific to the target microcontroller. The binary code was flashed into a test board with the target microcontroller for processor-in-the-loop (PIL) testing with the actual 3KWhr battery pack to ensure the functionality and performance of algorithm running on the hardware. | 3.21
35 | Joseph Green and Joshua Zehoski | Waste Not, Want Not: Harnessing the Power of (Deep) Reuse for a Sustainable Engineering Future | Digital Systems Engineering Requirements and Test Management | Complexity and cost for developing new medical device systems continues to increase toward unsustainable levels. Although complexity increases incrementally with each iteration of products a great deal of the design aspects are still shared. Why aren’t increasing efficiencies from the shared design aspects offsetting or even reducing costs? Common practice within systems engineering includes the selection of predicates from which to derive or iterate new systems. These predicates often provide many artifacts (e.g., requirements, designs) which are useful as starting points, but when establishing the baseline for the current product we too often spend our time cherry picking the content that is the same, tweaking where variation is required, and wordsmithing descriptions. This all seems harmless in the moment but consider the downstream implications. How do we differentiate between what is the same and what is different when the changes are intermingled? If 95% of the requirement is the same… Is it the same requirement, a new “version” of the requirement, or a new requirement? What about the impact on the design from that change in requirement? Verification protocols? Traceability relationships? The problems only multiply when dealing with product lines. Practice as usual won’t solve the problem because clone-and-own is the problem. Learn how to bend the cost curve and achieve a sustainable engineering practice via deep reuse. | 3.22
36 | Joseph Green and Joshua Zehoski | Weaving the Future: Digital Segments, Threads, and Fabrics | Digital Systems Engineering | Model-Based Systems Engineering (MBSE) provides many benefits to systems engineers as well as other functions, but the total impact that MBSE can provide is limited if the most significant benefits accrue only to systems engineering (i.e., optimization of less than 20% of total project effort). Despite MBSE adoption by systems engineering, many functions within the larger organization may continue to operate in document-based information siloes or adopt modeling approaches with different metamodels and/or tooling. These differences impede the flow of information across functional boundaries. Evolving from a purely MBSE approach to a more holistic Digital Engineering (DE) approach focused on providing infrastructure and automation to improve the flow of information between the functional organizations (and their models and information) seems to hold promise, but the idea of building Digital Threads, or even more so, a Digital Twin from scratch can be daunting. How do you approach the problem? And where do you start when it comes to integrating MBSE models into digital threads? “When eating an elephant, take one bite at a time.”, said Creighton Abrams. We would do well to head this advice. Join us as we explore a framework for digital transformation using the analogy of digital segments, digital threads, and digital fabrics. | 3.23
37 | Mamadou Bah | Empowering Tomorrow's Innovators: Bridging the Gap through Early Career Engagement in Digital Engineering. | Digital Systems Engineering | Explore the impact of early career involvement in digital engineering and lessons for seamless onboarding. As systems evolve in complexity, driving organizations towards Model-Based Systems Engineering (MBSE), hear firsthand experiences from the perspective of an early career systems engineer including insights gained on this journey. A candid account of challenges faced, and strategies employed for successful integration into a digital engineering team is discussed. Emphasizing the significance of mentorship programs, personalized skill development, and the use of advanced modeling tools, this presentation offers practical guidance for fostering adaptability and innovation in the evolving landscape of digital engineering. | 3.24
32 | Akhilesh Mishra and Pourash Patel | Tutorial on MBSE for developing an effective humidification system for mechanical ventilators | Digital Systems Engineering Requirements and Test Management | Model-Based Systems Engineering (MBSE) has become an effective approach to transform stakeholders' textual requirements into models that can be simulated. The primary benefit of MBSE lies in its ability to facilitate decision-making at every stage of a system's life cycle. In a common workflow, organizations often proceed from fresh ideas or existing challenges to the implementation phase without the concept validation phase. This can lead to implementations that fail to satisfy the original requirements, and making adjustments at this point can be costly and time-intensive. It would be nice to have some kind of sandbox (an executable model) to evaluate what-if scenarios. the computer-based dynamic system models allow system engineers to perform analyses and present optimized options with mitigated risks. to conduct analysis and provide options for optimized and risk-mitigated solutions. We will illustrate this by discussing how MBSE aids in choosing the right humidification method for mechanically ventilated adult patients. In this tutorial: • We will show you how you can capture and manage requirements for humidification in a mechanical ventilator • We will demonstrate ways to create structural and behavioral models of critical parts of the inhalation/exhalation system • Finally, we will use dynamic model simulation and testing methodologies to validate humidification settings or selection against the patient’s airway mucosa requirements | 3.25
27 | Matthew Versaggi | Cognitive Technology in the Healthcare Space | Artificial Intelligence & Machine Learning | Healthcare is a rich space for technology problems - including problems that stock-and-trade machine learning techniques cannot solve. For those we've leveraged Cognitive Technology - a brand of AI from the Cognitive Science space (aka. how the brain mechanically functions). This presentation will be an introduction into Cognitive Technology, its unique capabilities, how they are different from everyday machine learning, and some of the healthcare use-cases that warrant its use. | 3.31
51 | Steve Zielinski | Fundamentals of LLMs | Artificial Intelligence & Machine Learning | Prompt engineering has been all the rage, but few understand LLMs at a deeper level. We'll look deeper into the history of machine learning and how LLMs work. | 3.32
33 | James Wilt | GenAI vs. Tech Debt – Enhance Experiences by Reducing Fragility | Artificial Intelligence & Machine Learning Digital Systems Engineering | Technical Debt continues to grow with legacy systems and fragile products costing $2.41T. It puts our customers at risk and yet, we somehow avoid addressing it. Let's look at how we can leverage GenAl to identify, communicate, and even address our worst fragilities to not just preserve, but improve our corporate image! | 3.33
31 | Sri Harsha Maramraju | Product Line Engineering using Requirement Management Tool | Beyond the System Requirements and Test Management | This presentation introduces the concepts of Product Line Engineering (PLE) in the medical device industry, emphasizing the use of a requirements management tool to support the development process. PLE is a systematic approach to developing a family of related products that share common features and functionality. By leveraging a requirements management tool, medical device companies can effectively manage the complex requirements of multiple products within a product line, ensuring consistency and traceability throughout the development lifecycle. Benefits of PLE using a requirements management tool include: Improved requirements management Enhanced traceability Reduced development time Increased product quality Improved regulatory compliance Key considerations for successful implementation include tool selection, process definition, stakeholder involvement, and continuous improvement. By leveraging the capabilities of a requirements management tool, medical device companies can effectively manage the complex requirements of multiple products within a product line, resulting in faster time-to-market, reduced costs, and improved patient outcomes. | 3.41
3 | Ozgur Butun | Software Defined Medical Systems | Beyond the System Digital Systems Engineering | Healthcare providers are asking us for value-based care and bring lifetime value to them, which needs different approach "Systems" Engineering. We in Philips have identified the following tenets to this change - Move our propositions to the cloud - Offer more SaaS propositions - Offer Software App suites linked to our Systems - Bring good quality Data, ML and AI at scale. These trends have profound and urgent impact on our systems engineering, and the way we develop them. To achieve this we must start with becoming ‘Software Defined Systems'. A different systems engineering approach is needed to our current thinking, maximizing the functionality that is flexibily defined in Software as opposed to mostly fixed in Hardware. Designed to generate a rich set of high quality data through embedded sensors, that can be turned into clinical insights, insights on usage, performance and preventative maintenance. Designed for customization and upgradability through offering suites of software apps that are enriched over time – ensuring customer lifetime value. Very near future of Systems Engineering is Software Defined. And that future is bridged with the following capabilities: - Over the Air upgrades / updates capability; software and OS - Containerization - Modular hardware architecture - Subscription based business models | 3.42
46 | Rouzbeh Touri and Akhilesh Mishra | Model-Based Design Approach for Hierarchical Systems – Medical Device Show Case | Beyond the System Digital Systems Engineering | Hierarchical systems consist of multiple layers where subsystems are managed by a central coordinator to achieve the intended goals of the original design. This approach is becoming more prevalent in the medical device sector, including robotic assisted surgery and the In Vitro Diagnostics (IVD) field. In this presentation, we will explore the application of Model-Based Design as a powerful tool for the development of these complex hierarchical systems. We will delve into how this methodology can streamline the design process, enable thorough simulation, facilitate quick prototyping, and assist in the efficient deployment and verification of medical devices. | 3.43
42 | John Vantuno | Lifecycle and Configuration Management of a System of Systems | Beyond the System | A product’s lifecycle can typically be partitioned into distinct phases, such as Concept, Development, Production, Utilization/Support, and Retirement. After a product is launched, it is not uncommon for the design of the manufactured product to change over time. These variations could be hardware-related, software-related, or a combination of both. Usually, the configuration of the manufactured product is represented by a BOM or part version number/letter or a software version number. The treatment of the lifecycle and configuration management of a system of systems (SoS) is poorly defined and exponentially more complicated. Typically, an SoS includes multiple constituent systems, each in different phases of their lifecycle. The SoS cannot be classified as existing in a particular lifecycle phase. So how does one track the development activities and milestones of an SoS? This discussion will explore the concept of “SoS Releases”. Each of the constituent systems in an SoS undergoes variations of their configuration over time, creating an exponential increase in the number of possible configurations of the SoS that quickly become unmanageable. What techniques are available to reduce the number of SoS configurations that need to be managed and verified? This discussion will explore a technique that focuses on constituent system configurations that have an impact at the SoS level. | 3.44
25 | David Walden | Cultural Considerations for Systems Engineering in Healthcare Organizations | General | In many healthcare organizations, systems engineering represents a cultural shift from "the way things have always been done" to a fundamentally new way of thinking. This is similar to the cultural shift that mechanical-heritage organizations need to take place from a parts-based, manufacturing culture to a development-based, systems engineering culture. This presentation will discuss the potential conflicts between the following culture: - Science vs. Systems Engineering - Marketing/Sales vs. Systems Engineering - Compliance vs. Systems Engineering First, the key elements of each culture will be examined. Then, these cultures will be contrasted with the cultural aspects of effective systems engineering. Suggestions to overcome these cultural issues will also be discussed. | 3.5